QUIKRETE® Guide Specification

Self-Leveling Floor Resurfacer-Fast-Setting (No. 1249-51)

Portland Cement Based, Self-Leveling, Self-Finishing Floor Topping and Underlayment

Section 03 53 00 – Concrete Topping

Section 03 54 16 – Hydraulic Cement Underlayment

PART 1 – GENERAL

1.10	SUMMARY

A.  Provide Self-Leveling Portland Cement and Underlayment for placement over existing concrete substrate.

B.  Related Sections:  Other specification sections which relate directly to the work of this section

include the following:

Section 030100 – Maintenance of Concrete

Section 035300 – Concrete Topping

1.20	SUBMITTALS

A. 	Product Data:  Submit manufacturer’s product data and installation for each material and product

used. Include manufacturer’s Material Safety Data Sheets.

1.30	REFERENCES

A.  ASTM C 109: Compressive Strength of Hydraulic Mortars.

B.  ASTM C 191: Setting Time of Hydraulic Cement.

C.  ASTM C 1059: Standard Specifications for Latex Agents for Bonding Fresh to Hardened Concrete.

1.40	QUALITY ASSURANCE

A.  	Manufacturer’s Qualifications: The manufacturer shall be a company with at least fifteen years

experience and regularly engaged in the manufacturer and marketing of products specified herein.

B.   Installer’s Qualifications:  The contractor shall be qualified to perform the work specified by reason

of experience.

1.50	DELIVERY, STORAGE AND HANDLING

A.  Deliver products in original packaging, labeled with product identification, manufacturer, batch

number and shelf life.

B.  Store products in a dry area. Protect from direct sunlight.

C.  Handle products in accordance with manufacturer’s printed recommendations.

PART 2 – PRODUCTS

2.10	MATERIALS

A.  Self-leveling, Portland Cement Based, Self Finishing, One Component Underlayment .

Comply with the following:

1.  Manufacturer:  Self-Leveling Floor Resurfacer – Fast-Setting  (No. 1249-51) as manufactured

by the QUIKRETE® Companies, One Securities Centre, 3490 Piedmont Road, NE, Suite 1300,

Atlanta, GA 30305; telephone (404) 634-9100.

2.  Performance and Physical Properties at 73 degrees F and 50 percent relative humidity:

A. Working time, ASTM C 191: 20-40 minutes

B. Compressive Strength, ASTM C 109 Modified: 1800 psi (12.4 MPa) @ 24 hours,

4000 psi (27.6 MPa) @ 7 days, 5500 psi (37.9 MPa) @ 28 days

C. Slant Shear Bond Strength, ASTM C 1059: Exceeds 1250 psi (8.6 MPa) @ 28 days

D. Walk On Time:  2-4 hours maximum

E. Tensile Bond Strength, ASTM C 1059: 300 psi (2.1 MPa) @ 7 days, 400 psi

(2.8 MPa) @ 28 days

PART 3 – EXECUTION

3.10	EXAMINATION

A.  Examine substrates and conditions under which materials will be installed. Do not proceed with

installation until unsatisfactory conditions are corrected.

B.  Coordinate installation with adjacent work to ensure proper sequence of construction. Protect

adjacent areas landscaping from contact due to mixing and handling of materials.

3.20	  SURFACE PREPARATION:

Comply with manufacturer’s printed instructions and the following:

A. Clean the concrete slab or floor of all dirt, dust, oil, grease, paint and water-soluble material.

B.  Fill any deep holes or depressions to existing floor elevation with QUIKRETE® FastSet™

Non-Shrink Grout (No. 1585-09), comply with manufacturer’s printed instructions. Allow  filled

areas to cure before pouring Floor Resurfacer.

C. Seal all perimeter openings to prevent leakage. These dams should be able to retain resurfacer

material at a height greater than the finished floor elevation.

D.  Prime the clean dry floor surface with QUIKRETE® Bonding Adhesive (No. 9902) in accordance

with manufacturer’s instructions. Dilute 1 part Bonding Adhesive with 2 parts clean water.

Blend Bonding Adhesive completely before using.

E.  Apply with broom, roller or garden sprayer to saturate the surface.

3.30	  MIXING:

Comply with manufacturer’s printed instructions and the following:

A. Material should be mechanically mixed for a minimum of 4 minutes at 250-500 RPM’s

using a five-gallon (19L) bucket with a ½” (12mm) drill and paddle mixer.

For large grouting applications, a standard mortar mixer may be used.

B. Add approximately 4.5 quarts (4.26L) of clean mixing water per 50 lb (22.7 kg) bag.

C. Slowly pour the powder into the water and mix to a lump free consistency. If more water

is needed, add small amounts at a time and continue to mix until the desired consistency

is achieved.

D. Use minimum amount of water necessary to achieve the desired flow characteristics. Excessive

water can cause separation, reduction of strength and shrinkage of cured resurfacer.

3.40	  APPLICATION:

Comply with manufacturer’s printed instructions and the following:

A. Place the resurfacer by pouring directly from the mixing container. Placing should be done

as one continuous operation.

B. Pour in continuous strips about 1 foot (0.30 m) in width across the narrow section of floor.

C. QUIKRETE® Self-Leveling Floor Resurfacer can be installed from 1” (25 mm) thick to a feather

edge in one application.

D. Protect the leveled floor until resurfacer has developed sufficient strength.  Fast-Setting Self-Leveling Floor Resurfacer may be walked on within 2 - 4 hours, depending on conditions, and finished flooring may be applied in 24 hours depending on conditions.

E. Do not apply if temperatures are below 50°F (10°C) or are expected to go below 40° (4°C)

within a 24 hour period. Use cold water in hot weather or hot water in cold

weather to achieve desired grout temperature.

3.50		CURING

A. Areas to receive Self-Leveling Floor resurfacer should be protected from the sun or wind

which can cause a rapid moisture loss leading to incomplete hydration and potential cracking.

3.60		CLEANING

A. Remove excess material before material cures. If material has cured, remove using

mechanical methods that will not damage substrate.

END OF SECTION